EDA INSIGHTS REPORT

Turkey National Electricity Grid — Key Findings

final_training_set_v1.csv  ·  Jan 2018 – Mar 2025  ·  Ramadan-Aware STLF Benchmarking

# 1  Dataset Snapshot

| Hourly records 70,125 Jan 2018 → Dec 2025 UTC | Load range 15,333 – 59,504 MW Median 36,046 MW | Missing values 0 Timestamps & NaN both zero | Regime split 87 / 8 / 5% Normal / Ramadan / Heatwave |
| --- | --- | --- | --- |

The load distribution is approximately bell-shaped with slight right skew, centred near 36,000 MW. Annual box plots show a demand dip in 2019–2020 (COVID impact), a sharp +12.3% rebound in 2021, and +5.7% growth in 2024, placing the test set on a structurally higher baseline than the training set — a mild distributional shift all models must absorb.

# 2  Stationarity & Autocorrelation

| Test | Statistic | p-value | Result |
| --- | --- | --- | --- |
| ADF (H₀: unit root) | −11.93 | < 0.000001 | Reject H₀ — stationary |
| KPSS (H₀: stationary) | 19.35 | 0.010 | Reject H₀ — drift present |

The conflicting result is the classic signature of trend-stationary behaviour: no unit root, but a slow upward drift (growing demand) that KPSS flags. Models should include time-indexed trend features or long rolling means rather than differencing, which would discard the autocorrelation structure exploited by lag features.

The ACF shows strong periodicity at lags 24, 48, 72 h (daily) and lags 168, 336 h (weekly). PACF spikes are concentrated at lags 1, 2, 24, and 168, with near-zero values beyond — confirming that lag-24h (r = 0.877) and lag-168h (r = 0.889) capture the bulk of autoregressive predictability and are the strongest single features in the dataset.

# 3  Temporal Load Patterns

## Hourly profile

Double-peak shape: morning ramp to ~40,000 MW by 09:00 UTC, slight midday dip, sustained plateau ~40,000–42,000 MW from 13:00–19:00 UTC, overnight valley ~28,000–30,000 MW. IQR band ~5,000 MW — driven by seasonal and regime variation, not noise.

## Day-of-week

Weekday demand is consistently ~4,000 MW above weekends. Under Normal regime: weekday median 36,109 MW vs weekend 32,085 MW (ratio 0.889). Sunday nights are the grid minimum; weekday mornings/early afternoons are peak.

## Monthly / seasonal

W-shaped annual curve: winter heating peak (Jan–Feb, ~39,000 MW), spring trough (Apr–May, ~33,000 MW), summer AC peak (Jul–Aug, ~41,000 MW). Summer peaks are afternoon-driven (11:00–17:00 UTC); winter peaks cluster in morning/evening hours — consistent with AC vs heating physics.

# 4  Ramadan Regime — Structural Shift

Core Finding Ramadan median: 33,677 MW vs Non-Ramadan: 36,318 MW Delta: −2,642 MW (−7.27%) — Welch t-test: t = −40.84, p ≈ 0 → SIGNIFICANT Consistent across all 7 Ramadan occurrences in the dataset (2018–2025)

| Effect | Normal regime | Ramadan regime | Implication |
| --- | --- | --- | --- |
| Weekday median | 36,109 MW | 33,332 MW | −8.5% demand suppression |
| Weekend median | 32,085 MW | 30,091 MW | −6.2% suppression |
| Wkday/wkend ratio | 0.889 | 0.903 | Day-of-week weakened as predictor |
| Peak hour (UTC) | 09:00 & 17:00 | 17:00–18:00 (iftar) | Daily shape inverted |

Hourly shape inversion: Pre-iftar demand stays suppressed through the day. A sharp spike appears at ~17:00–18:00 UTC (iftar ≈ 20:00–21:00 Istanbul) with a secondary pre-dawn peak at ~01:00–02:00 UTC (suhoor). The normal morning ramp is absent.

Intra-Ramadan progression: Demand suppression deepens in days 21–30 as iftar timings concentrate further into the evening and Eid anticipation grows — validating the day_of_ramadan ordinal feature as a meaningful intra-window signal.

# 5  Weather–Load Relationships

| Variable | Pearson r | Spearman r | Interpretation |
| --- | --- | --- | --- |
| temp_c | +0.336 | +0.292 | Moderate — summer AC dominates; heating partially cancels |
| wind_speed | +0.188 | +0.191 | Modest — higher winds correlate with cold winter fronts |
| solar_rad | +0.153 | +0.183 | Positive — summer days drive both irradiance and AC load |
| dewpoint_c | +0.145 | +0.138 | Weakest — humidity amplifies AC discomfort, absorbed by temp |

Temperature exhibits a U-shaped nonlinearity: load is elevated at cold temperatures (heating), reaches a minimum near 15–18°C, then rises steeply above ~25°C (AC). The slope steepens markedly above 31–35°C, justifying the temp_above_hw ReLU feature. All four weather variables are significant (p ≈ 0) but modest in magnitude — weather drives regime-level shifts, not hour-to-hour fluctuations; most short-term predictability comes from lag structure.

# 6  Heatwave Regime — Grid Stress

Core Finding Heatwave median: 44,162 MW vs Normal: 35,961 MW Delta: +8,201 MW (+22.8%) — the largest regime delta in the dataset P95 heatwave load: 55,032 MW ¦ Absolute peak: 59,504 MW (2025-07-28) All top-10 peak days are Heatwave days in July–August 2024–2025

The heatwave hourly profile is dramatically flattened: load elevated from midnight (~38,000 MW), climbing to a ~45,000–50,000 MW plateau sustained for nearly 10 consecutive hours (09:00–18:00 UTC). LightGBM under-predicts peak afternoon loads by ~2,500 MW median residual during heatwaves — attributable to the nonlinear AC response above ~38°C that temp_sq only partially captures. Exponential/higher-order temperature terms above ~38°C are a recommended next engineering step.

# 7  Feature Correlation & Multicollinearity

| Feature cluster | r with actual_load | VIF | Concern |
| --- | --- | --- | --- |
| load_lag_168h | 0.889 | 108.7 | High VIF — fine for tree models |
| load_lag_24h | 0.877 | 145.0 | High VIF — fine for tree models |
| load_rolling_mean_168h | 0.863 | 278.2 | Must exclude from linear models |
| load_rolling_mean_24h | 0.857 | 310.5 | Must exclude from linear models |
| is_ramadan | −0.13 | n/a | Orthogonal to heatwave (0 compound hrs) |
| temp_c | +0.34 | 29.4 | Moderate multicollinearity with dewpoint |

VIF insight: Rolling mean and lag features carry VIF 108–310, confirming severe multicollinearity within the autoregressive set. LightGBM and neural models are invariant to this; however, any linear model (SARIMAX) must exclude rolling mean features to avoid singular design matrices. STL decomposition shows residual variance is only 16.3% of total — the floor of forecast error without regime-specific features.

# 8  Compound Regime & Data Quality

Compound (Ramadan ∩ Heatwave): 0 hours in the dataset. Ramadan falls in spring months (Mar–May in 2018–2025) before heatwave temperatures are reached — making the two regimes temporally non-overlapping. This compound scenario cannot be empirically evaluated until the Islamic calendar alignment shifts (post-~2030).

| Audit check | Result | Status |
| --- | --- | --- |
| Missing values | 0 across all 19 columns | ✓ PASS |
| Missing timestamps | 0 — 70,125 expected = 70,125 actual | ✓ PASS |
| Duplicate timestamps | 0 | ✓ PASS |
| Outliers (3×IQR) | 0 rows outside [4,907–67,188] MW | ✓ PASS |
| Lag leakage (>168h warmup) | 0 NaN in lag-24h and lag-168h | ✓ PASS |
| Split boundaries | Clean cuts at 2023-01-01 & 2024-01-01 | ✓ PASS |

The dataset is production-ready with no cleaning required. Extreme values such as the 59,504 MW July 2025 peak are genuine physical events, not data errors, and must be retained for training.

# 9  Modelling Implications

- Lag features dominate: Lag-168h (r = 0.889) and lag-24h (r = 0.877) are the strongest predictors. Zero-shot TSFMs without exogenous inputs are severely disadvantaged.

- Ramadan features are necessary: The −7.3% shift is abrupt, large, and consistent. At Ramadan boundaries, lag values are from a different regime — exactly when they are least reliable. Explicit Hijri features add independent signal.

- Heatwave nonlinearity requires engineered features: temp_sq and temp_above_hw are essential; higher-order terms above ~38°C are recommended.

- No compound events in this dataset: The Ramadan × Heatwave scenario is theoretically important but empirically unavailable until post-2030.

- Linear models (SARIMAX): Must exclude rolling mean features due to VIF > 100.

- Trend-stationary growth: Test set (2024–2025) sits on a higher demand baseline than training. Include a year/long-horizon trend feature to prevent systematic under-prediction.

Omar Shafiy · Eiad Essam · Omar Sharaf · Shady Adham  |  Egypt University of Informatics  |  April 2026